PRE-QUALIFICATION PROGRAM

Work Type Definition / Submittal Requirements

# Work Type Definition

## 6.4 Vibration Analysis and Monitoring

### Description

Vibration Analysis and Monitoring includes testing/monitoring and analysis in the following areas: Susceptibility of buildings to vibration damage, Pre-construction building condition surveys, vibration monitoring, and compliance to vibration specifications. Analysis/monitoring includes deployment of equipment/personnel and the collection of data through field investigations. Analysis includes recommendations and conclusions, drawn from the data acquired, in relation to the specific needs of the project.

### Standards and Specifications

Standards and specifications required for a project under this work type may include the following:

- All tasks will be performed in accordance with current American Society for Testing and Materials (ASTM), American Association of State Highway & Transportation Officials (AASHTO), and MnDOT specification.

### Provided by MnDOT

Information to be supplied by MnDOT for a project may include the following:

- ASTM, AASHTO, and MnDOT Standard Specifications.

- Plans showing existing topography, proposed alignments, proposed areas of vibration producing activities, and locations potentially affecting buildings/structures.

- Elevation of existing benchmarks to determine testing elevation.

### Provided by Consultant

Deliverables to be supplied by the consultant for a project may include the following:

- Reports of vibration data as well as final reports on susceptibility of specific buildings/structures to vibration damage, and pre-construction condition of buildings.

  - Establishment of susceptibility of specific buildings/structures to vibration damage from project sources.

  - Establishment of criteria for allowable vibration limits.

  - Determination of extent of pre-construction building condition surveys.

  - Reports that detail building conditions, including photography, videotape and drawings

  - Cyclic (after each event, daily, or weekly, depending on project requirements) reports of vibration levels and relationship to established limits.

# Work Type Submittal Requirements

A consultant firm becomes pre-qualified based on the qualifications of the personnel that are employed by the firm.

| ### Key Personnel Requirements | ### Description |
| --- | --- |
| - Minimum Number of Staff | At least one professional engineer OR professional geologist with relevant experience (can utilize a combination of other personnel to accomplish all possible work/deliverable items. See page 1, Section IV.) |
| - Professional Certification / Licensure | Qualified professional engineer must be a licensed Civil Engineer with the Minnesota State Board of Professional Engineers. Qualified professional geologist must be a licensed Geologist in the State of Minnesota. |

| ### Work Type Submittal Requirements | ### Description |
| --- | --- |
| - Resume and Relevant Project Experience Form - Form PQ1 - [Submit in Microsoft Word format] | - Complete Parts 1, 1A, and 2 of Form PQ1 Part 1: Fill out general information and name(s) of personnel. Part 1A: Qualified professional engineer or geologist must have a minimum of 5 years’ experience in the activities required. Experience of the qualified staff must be demonstrated by reference to two completed projects (maximum of five) within the last five years. Part 2: Project Examples listed must correlate to those described below in “Project Example Requirements.” |
| - Project Example Requirements - [Submit in PDF format] | Submit one project example completed within the last five years. Example should be a final report or summary of final report. |
| - Proof of Certification / Licensure [Submit in PDF format] | Provide a current copy of the applicable Professional Certification/ Licensure. |

| ### Work Type Submittal Instructions | ### Description |
| --- | --- |
| - Instructions for Submittal [Each file should be saved in the format identified.] | Submit 5 flash drives that include the following individual files or folders in this order: Resume and Relevant Project Experience Form - Form PQ1 [Submit in Microsoft Word format] Project Example Requirements [Submit in PDF format] - This should be a folder that includes individual files clearly named according to Part 2 of Form PQ1. Proof of Professional Certification/Licensure [Submit in PDF format] |

THE BALANCE OF THIS PAGE HAS BEEN INTENTIONALLY LEFT BLANK.